## BILL OF QUANTITIES
______________________________________________________________________________________________________________________
PROJECT TITLE: Purchasing of Step-down transformers for MCCs and Step-up Transformer for Diesel Genset on DDP basis at MBL Stores, Tete, Mozambique
PROJECT OWNER: MINAS DE BENGA, LIMITADA
PROJECT LOCATION: TETE-MOZAMBIQUE
PROJECT DURATION: 5 MONTHS
BILL OF QUANTITIES "BoQ"
Item | Description |  |  |  | Unit | Quantity | Unit Price [USD] | Total Price [USD]
1 | Transformer 3,500 KVA, 22/0.69 KV, 50Hz, Three Phase, step-down as per full attached Specification Sheet attached. |  |  |  | Un | 1 |  | 0
2 | Transformer 2,500 KVA, 0.69/22 KV, 50Hz, Three Phase, step-up as per full attached Specification Sheet attached. |  |  |  | Un | 1 |  | 0
3 | Transformer 500 KVA, 22/0.69 KV, 50Hz, Three Phase, step-down as per full attached Specification Sheet attached. |  |  |  | Un | 1 |  | 0
TOTAL [USD] EXCLUDING VAT@16% | [7 empty] | 0
Notes:
Validity of the proposal : days
Point of Delivery (POD): Tete - MBL stores
Advanced payment: yes against the bank guarantee
BUDGET COMPARISON BETWEEN REPAIRING AND BUYING NEW 2500 KVA, 22/0.69 KV TRANSFORMER
Options |  | Nº Units [un] | Indicative Proposal 1 [USD] | Indicative Proposal 2 [USD] | Highest Amount [USD] | Lowest Amount [USD] | Pros | Cons
Reparing Failed one |  | 1 | 47372.468 |  | 47372.47 | 47372.47 | 1.The avarege amount is cheaper. 2. 2.Add value to the businees because of avarage price for this option is lower that buying a mew one. | 1. Expected potencial challegens on repairing if the servirce proveder differs from the OEM. 2.The proposal from the OEM is higher then other services provider. 3. The final repairing cost might depending of the interior conditions of the transfromer. The offered price may vary. 4. Uncertainity of the life span of transformer
Buying New Transformer |  | 1 | 59673.3411 | 76850 |  |  | 1. Guarantee of life span of the equipment 2. Add value to the business because of guarantee of line span 3. The price is fixed. 4. Offer more technical comnfort . 5. The comparison between the repairing price form the OEM and supplying of new unit from the OEM itself, the diference of price is 20% only. So there is no justification to incur risk at such different rate. | 1. The avarage price is higher than reparing the failed one
Transportation, Duiies and taxes |  |  | Excl | Inc.
D.O.P [Tete/Vendor Worksho] |  |  | Yes | Yes
OEM |  |  | Yes | No